**Complete bed pan cleaner**

With stopcock M1/2"

Push-button bed pan cleaner

Reference: **D275058**

Specification description

Complete bed pan cleaner with stopcock with ceramic discs includes:

Integrated back flow prevention device and non-return valve.

White, opaque reinforced PVC flexible hose, FF1/2" L. 0.80m.

Push-button bed pan cleaner.

White, wall-mounted hook with screw.

30-year warranty.